## Slide 1: NUCLEAR POWER PROGRAM IN INDONESIA: POTENTIAL AND CHALLENGES
:IAEA National Workshop on:
Industrial Involvement
Jakarta, 24 – 27 February 2020
Suparman
Center for Nuclear Energy System Assessment
National Nuclear Energy Agency

## Slide 2: CONTENTS
INTRODUCTION
STATUS OF NPP IN THE WORLD
PROSPECT AND POTENTIAL OF NUCLEAR ENERGY
STATUS OF NUCLEAR POWER PROGRAM
CHALLENGES
POLICY AND STRATEGY
FUTURE PLAN

## Slide 3: WORLD NPP HISTORY

## Slide 4: KOREA NPP HISTORY
2000s
1980s
Construction
of Kori #1 (`71-`78)
1990s
Establishment of
Localization Plan (`84)
1970s
Technology
Self-reliance
Introduction
of Nuclear Power
Promotion of
Localization
OPR1000
Development (`95)
Development of
Advanced Reactor
APR1400
Development (`01)
* OPR1000 (Optimized Power Reactor 1,000) is renamed from the former KSNP.
Proprietary DOOSAN

## Slide 5: INDONESIA NPP HISTORY
1970
1980
1990
1996
2000
Muria FS
1992-1995
1986
Chernobyl
Economic Crisis
Before NUCLEAR LAW
Reformation
DG of IAEA visit Indonesia
After NUCLEAR LAW
2010
Fukushima
BANGKA FS
2011-2013
Nuclear Law 10/1997
Reactor Non-Commercial
2014-2018
National Priority Program
FS of West Kalimantan
2020
INIR MISSION

## Slide 6: 10 DENSELY POPULATED COUNTRY
1,000,000,000
800,000,000
600,000,000
400,000,000
200,000,000
-
1,200,000,000
1,400,000,000
NPP
NO NPP
BANGLADESH START CONTRUCT NPP

## Slide 7: NPP STATUS IN THE WORLD
Electricity contribution: 10,4%

## Slide 8: UNDER CONSTRUCTION

## Slide 9: UNDER CONSTRUCTION

## Slide 10: REACTOR TYPE

## Slide 11: Why we need nuclear?
Electricity demand increase rapidly
Economic growth
The need for a better life
To support industrialization
Limited fossil energy resources
The issue of global warming
The basic infrastructure (soft and hard) supporting the use of nuclear power plants is largely ready

## Slide 12: Indicator
Electricity per capita: 1064 kWh/cap
Minimum electricity per capita for developed country: 4.000 kWh/cap
1.064 kWh/cap
2.500 kWh/cap
7.000 kWh/cap
2019
2025
2050
NATIONAL TARGET

## Slide 13: TARGET OF ENERGY MIX
 | 2016 | 2025 | 2050
Role of energy | Commodity | As development capital | 
Renewable mix | 7.7% | 23% | 31%
Energy supply | 169 MTOE | 400 MTOE | 1.021 MTOE
Power plant Capacity | 59 GW (EBT 8 GW) | 136 GW (EBT > 45 GW) | 443 GW (EBT > 167 GW)
Energy elasticity | 1 | < 1 | < 1
Electricity /capita/year | 865 KWh | 2.500 kWh | 7.000 kWh
Electrification Ratio | 88% | 100% | 100%
New and renewable
Coal
Oil
Gas
Chart: 
 | 0.23 | 0.25 | 0.3 | 0.22
Chart: 
 | 0.31 | 0.2 | 0.25 | 0.24
PRESENT CONDITION
Chart: 
 | 92.8069 | 382.2 | 451.0726 | 289.291

## Slide 14: Target of Installed Capacity

## Slide 15
FOSIL ENERGY RESOURCES
SUMATERA | 
Coal | 52.483,20 JTon
Oil | 5.299,47 MMSTB
Gas | 133,55 TSCF
JAWA | 
Coal | 14,21 JTon
Oil | 1.631,34 MMSTB
Gas | 9,97 TSCF
SULAWESI | 
Coal | 233,10 JTon
Oil | 49,11 MMSTB
Gas | 3,88 TSCF
MALUKU | 
Coal | 2,13 JTon
Oil | 37,92 MMSTB
Gas | 15,22 TSCF
PAPUA | 
Coal | 128,57 JTon
Oil | 65,73 MMSTB
Gas | 23,91 TSCF
KALIMANTAN | 
Coal | 52.326,23 JTon
Oil | 669,24 MMSTB
Gas | 17,36 TSCF
COAL ~ 50 years, OIL ~ 10-13 years, GAS ~ 30 years

## Slide 16: POTENTIAL
Indonesia has experiences in build and operate conventional power plants as well as nuclear research reactors:
  technical personnel,
  education, training and personnel certifications system,
  Regulations
National industry capabilities

## Slide 17: Existing Infrastructure of HRD
Department of Engineering Physics – Gadjah Mada University: nuclear engineering as major.
Department of Physics – Bandung Institute of Technology: nuclear engineering as major.
Nuclear Medical Physics, Department of Physics – University of Indonesia, and other universities.
Polytechnique Institute of Nuclear Technology – STTN, BATAN.

## Slide 18: NATIONAL CAPABILITY
Consultant | Year | NPP type | Local Conten (%) |  |  |  | 
 |  |  | Unit 1&2 | Unit 3&4 | Unit 5&6 | Unit 7&8 | Unit 9&10
NewJec | 1994 | PWR | 25 | 30 | 35 | 60 | Optimum
MHI-WH | 1996 | AP600 | 31 | 60 |  | - | -
GE | 1996 | ABWR | 26,1 | 31,4 | 37,5 | 60 | Optimum
KEPCO | 1997 | KSNP1000 | 25 | 40 |  | 60 | -
UGM | 2004 | OPR1000 | 25 | - | - | - | -
KHNP | 2006 | OPR1000 | 20 | 50 |  | 70 | 

## Slide 19: National Industry Capability
Source : PT. Siemens Indonesia
Cilegon Factory
This component for Olkiluoto NPP, Finlandia
Notes: 19

## Slide 20
Status of National Nuclear Power Infrastructure Development
BATAN requested the IAEA to perform an Integrated Nuclear Infrastructure Review (INIR) Mission under the framework of TC programme (INS/4/037) in a letter dated on 5 August 2009.
An INIR mission provides an external peer reviews conducted by the IAEA in November 23 – 27, 2009
INIR mission shows that Indonesia has done extensive preparatory work on most infrastructure issues that would allow the country to make decision to further consider introduction of nuclear power, i.e. to go from phase 1 to phase 2 in Milestone methodology.

## Slide 21: Nuclear infrastructure status

## Slide 22: Status of nuclear infrastructure
NEPIO not yet
established

## Slide 23: Site Study for NPP
Associated with the preparation of NPP site, there are several locations in Indonesia, which has been identified. The sites are located in the Muria peninsula, Banten, Bangka Island, East Kalimantan, West Kalimantan, Batam and Nusa Tenggara Barat. Bangka candidate site is most ready to be built NPP.

## Slide 24: EARTHQUAKE
Notes: Kalimatan Barat baru ada 3 kali kejadian gempa

## Slide 25: VULCANO
Notes: Tidk ada gunung api

## Slide 26: PEAK GROUND ACCELERATION (PGA)
(Masyhur Irsyam, 2010)
PGA ≤ 0.6

## Slide 27: Challenges
High capital cost of nuclear power plant, less competitive compare conventional power plant
NPP is the last option (Gov. Reg. 79/14)
NIMBY, NOT IN MY BACKYARD
NIMET, not in my election territory

## Slide 28: Criteria for Nuclear Energy
Based on the National Energy General Plan, nuclear can be utilized with some criteria such as:
  For fulfilling the needs of growing energy demand by supplying national energy in a large scale
  Reducing carbon emissions
  Economic competitiveness (NPP electricity selling price ≤ 7 cent/kWh - the Amount of Cost of Generation Provision (BPP) as basis for Power Purchase Agreement)

## Slide 29: PUBLIC ACCEPTANCE ON NPP
Annual public opinion is conducted to measure public acceptance on NPP program;
The results within 6 years show dynamics of acceptance, especially effected by Fukushima Daiichi accident in 2011;
2016 result showed public confident tends to show increasing trends for the last 4 years.
Chart: 
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
 | 0.597 | 0.495 | 0.5293 | 0.641 | 0.72 | 0.753 | 0.7753
29
Fukushima NPP Acc

## Slide 30
Survey period: Nov-Dec 2016
4,000 respondents
30

## Slide 31: NOT IN MY BACK YARD (NYMBY)
Chart: YEAR
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
 | 59.7 | 49.5 | 52.93 | 64.1 | 72 | 75.3 | 77.53
 | 59.7 | 49.5 | 52.93 | 64.1 | 72 | 75.3 | 77.53
Year | Agree (%)
2011 | 35
2012 | 28
2013 | 42.3
2014 | 56.5
Site Candidate
Bangka Belitung

## Slide 32: Policy and Strategy (1)
To encourage the local Government to speak out more strongly on the need of nuclear energy.
  East Kalimantan
  West Kalimantan
  Bangka-Belitung
  Batam island
  West Nusa Tenggara
To support the Ministry of Energy and Mineral Resources on the establishment of nuclear energy roadmap.

## Slide 33: Policy and Strategy (2)
BATAN’s role as promoting organization, technical supporting organization (TSO), and clearing house.
In cooperation with other stakeholders to initiate the action program on the social, culture, and politics issues.

## Slide 34
FUTURE PLAN

## Slide 35: Feasibility Study (2020-2022)
National Priority Research Grant, title: PROTITYPE OF COMMERCIAL SCALE SMR
Site: West Kalimantan

## Slide 36: COLABORATION SCHEME
INFRASTRUCTURE FOR COMMERCIAL SCALE NPP PROTOTYPE
SITE EVALUATION
REACTOR AND FUEL TECHNOLOGY
FEASIBILITY STUDY
HRD PREPARATION
DISSEMINATION AND STAKEHOLDERS ENGAGEMENT
REGULATION AND ORGANIZATION
  BATAN: PKSEN, PTKRN, PTKMR, PPIKSN
  BAPETEN
BMKG
PSG – MEMR
PVMBG – MEMR
P3GL - MEMR
  BATAN: Pusdiklat, STTN, BSDMO
UGM, ITB, UNTAN
  West Kalimantan Government
  BATAN: PTKRN, PRFN, PTBBN, PTBGN, PTLR, PSMN
BPPT
BAPETEN
INDUSTRY
  BATAN: PDK
West Kalimantan Government
UNTAN
LIPI
  BATAN: PKSEN, PTKRN
PT Indonesia Power
UGM, ITB, UNTAN
  West Kalimantan Government
  BATAN: BHHK
  BAPETEN

## Slide 37: FUTURE PLAN
To asses NPP technology development on economic and safety aspects
Encouraging mastery of nuclear power technology in line with the latest developments in nuclear power technology developments in the world
Building international cooperation related to the study of nuclear power plant development
Ministry of Research, Technology and Higher Education/BATAN
Ministry of Research, Technology and Higher Education/BATAN
Ministry of Energy and Mineral Resources

## Slide 38: FUTURE PLAN
Conduct a multi-criteria analysis of nuclear power plant implementation including: balance of energy supply, reduction of carbon emissions, safety factors and economical aspects by involving various stakeholders
Prepare a roadmap for nuclear power plant implementation as the last option in national energy development priorities
Ministry of Energy and Mineral Resources
Ministry of Energy and Mineral Resources

## Slide 39
Terimakasih